Preparatory Checklist Energy

Information

The following information is needed for the climate check:

- Energy bills (electricity and heating) of the last three years (kWh, rates and
cost), incl. information on specific prices (per ton or cubic meter of fuel, per kilowatt-hour).

- Heated area of the school (if necessary, the cleaned surface as well). Attention: These data might only be available with the school authority. Make sure you get the copies in time!

- Technical data of the heating. Which part/s of the building is/are supplied by which heating circuit?

- How is the school heated at the weekend or during holidays (drop of temperature)?

- Location of all electricity meters (incl. gym, caretaker’s flat, etc.). Which part/s of the building has/have its/their separate meter/s?

- What electrical devices are run in the school (this might also be an inventory)?

- Who is responsible for the electrical devices of the school?

Contact person on the spot

During the project days your group has to question the following persons:

- secretary

- caretaker

If possible include expert partners, like an energy consultant for buildings or the operator of the heating (like public services or school authorities/building department/municipal energy control centre).

Rooms

During the project days the group has to have temporary access to the 
following rooms – if necessary someone has to accompany them:

- all rooms of the school, including boiler room, sanitary rooms, gym, cellar, kitchen etc.

- all electricity meters (basement, corridors, etc.).

Material

The following specific material is needed:

- plan of the school,

- digital thermometer with sensor (display accuracy 0,1 °C),

- if possible digital thermometers with automatic measuring,

- if needed, hygrometer and measuring device for CO2 in the room air,

- measuring devices for energy costs (for electricity), like luxmeter, connectors,

- measuring tape

- topic-oriented information material on energy policy or photovoltaic solar power plants.

The following general material is needed:

- checklists for the collection of data (if necessary check before use and adjust them to the specific situation of the school, print them in sufficient numbers),

- cameras (simple digital cameras of camera phones; might be brought by the pupils),

- computers (for data and image processing, internet researches and, where necessary, for multimedia presentations),

- presentation material like large sized paper, pencils, scissors and glue, some magazines as material for illustrations, if needed, cardboard, transparencies and insulating material for the construction of a model “energy-saving house“.

Pupils should bring their normal writing utensils, something to write on and a pocket calculator.

Task for the preparation

Your pupils need the data on energy consumption during a whole week 
(incl. the weekend). Therefore, no. 1 of the checklist energy consumption 
should already be done during preparation.

More notes on the preparation

This Climate Detectives Checklist from Tilman Langner / Environmental Office North, registered association, www.umweltschulen.de/klima/climatedetectives.html is provided under the terms of Creative Commons Attribution-NonCommercial-ShareAlike 3.0 Unported (CC BY-NC-SA 3.0,  http://creativecommons.org/licenses/by-nc-sa/3.0/). Translation: BUPNET, www.bupnet.de

# Text boxes

date:

done:

date:

done:

date:

done:

date:

done:

date:

done: